Introduction

Spices, Inc. maintains a Calibration Program to ensure that weighing and temperature monitoring equipment used in production and sanitation activities is accurate and suitable for its intended use.

Scope

This program applies to monitoring and measuring equipment used to ensure product safety and legal compliance, including:

- Small bench scales (25 lb capacity and under)

- Large scales (50 lb capacity and above)

- Thermometer used to verify dishwasher operating temperature

No other monitoring or measuring devices are used for product release or food safety determination.

Procedure

Equipment Inventory

The Operations Manager maintains a list of all scales and thermometers subject to calibration or verification.

Each device is assigned a unique ID and linked to calibration or verification records.

Scale Calibration

- All production scales are calibrated at least annually by a qualified external calibration provider.

- Calibration certificates are traceable to national standards (NIST).

- Calibration records are maintained for a minimum of three (3) years.

- Each scale is labeled with the last calibration date and next due date.

Thermometer Control

- The dishwasher thermometer is used to verify dishwasher operating temperature.

- The thermometer is visually inspected for damage or malfunction prior to use.

- If the thermometer appears damaged, inaccurate, or malfunctioning, it is removed from service and replaced.

- Replacement thermometers are labeled and documented.

Handling Out-of-Tolerance Equipment

If any scale is found to be out of tolerance, or if a thermometer is found to be malfunctioning:

- The device is removed from service.

- The Operations Manager evaluates product or sanitation activities conducted since the last accurate verification.

- Corrective actions are documented.

- The device is recalibrated or replaced before returning to use.

Responsibilities

Chief Operations Officer (COO)

- Oversees the Calibration Program.

Operations Manager

- Maintains calibration records.

- Ensures devices are calibrated or verified on schedule.

- Initiates corrective action if equipment is found out of tolerance.

Qualified Calibration Provider

- Performs annual scale calibration and provides certification.

| Revision Date = Version # | Changes |
| --- | --- |
| 2025-03-24 | New program. |
| 03/16/2026 | Reviewed |