# Introduction

# Purpose:

# To ensure water, ice, and compressed air do not create a food safety risk.

# Scope:

# Applies to potable water and compressed air used at the facility.

# Responsibilities:

# Chief Operations Officer

# SQF Practitioner

# Records:

# Annual water test results

# Bleach PPM dishroom records

# Compressed air test results

# Incident and corrective action records

# Water Supply Controls

# Spices, Inc. has established and implemented Good Manufacturing Practices for the site water supply. These practices are maintained to ensure effective operation of the Food Safety Management System.

# Water Testing and Analysis

# Spices, Inc. verifies the safety of potable water used for employee hygiene and cleaning activities through routine testing and record review.

# Potable water is supplied by American Water Company and is verified annually through third-party laboratory testing conducted by Microbac. Water testing includes microbiological analysis to confirm compliance with applicable potable water standards. Annual water test results are reviewed and maintained on file.

# In addition to annual potable water testing, bleach concentration is verified for allergen dishwashing activities. The dishroom sink used for washing allergen-contact utensils and equipment is tested using bleach test strips to confirm appropriate sanitizer concentration. Bleach parts-per-million (PPM) results are recorded on dishroom sanitation records.

# Records of annual water testing and allergen dishwashing bleach verification are maintained as part of the Environmental Monitoring and dish room sanitation record systems.

# Potable water testing includes microbiological analysis for Total Coliform and E. coli, or other applicable parameters required to verify compliance with potable water standards.

# Ice Use

# Ice is not used in processing, sanitation, or product handling at this site.

# Compressed Air

# Compressed air is used at this facility for equipment maintenance activities, including cleaning out the grinder. Compressed air does not contact finished product directly but may contact food contact equipment surfaces.

# Compressed air quality is verified through annual third-party testing conducted by Tri Air Testing to confirm that air used in the facility does not present a food safety risk. Test results are reviewed and maintained on file.

# Records of compressed air testing are maintained in the Environmental Monitoring database.

# Compressed air testing results are reviewed by the SQF Practitioner as part of the Food Safety Management System.

# Potable Water Contingency Plan

# Spices, Inc. maintains procedures to protect food safety in the event that the potable water supply is suspected or confirmed to be unsafe, contaminated, interrupted, or otherwise unsuitable for use.

# If a potable water issue is identified through third-party testing results, notification from the water supplier, equipment failure, or any other condition that could affect water safety, the following actions shall be taken:

- Immediate Action

# Dishwashing and production activities shall be stopped immediately until potable water safety can be verified and restored.

- Assessment and Control

# Management shall assess the situation to determine the potential impact on food safety and sanitation activities. Any product that may have been affected shall be evaluated and placed on hold if necessary.

- Corrective Actions

# Corrective actions may include contacting the water supplier, arranging follow-up water testing through an approved third-party laboratory, repairing affected systems, or implementing other actions necessary to restore potable water conditions.

- Verification Prior to Restart

# Dishwashing and production activities shall not resume until potable water safety has been confirmed through acceptable verification methods, such as satisfactory third-party laboratory test results or official notification from the water supplier.

- Documentation

# All potable water incidents, corrective actions, verification results, and decisions related to production stoppage and restart shall be documented and retained in accordance with record-keeping requirements.

| Revision Date = Version # | Changes |
| --- | --- |
| 2026-01-30 | New program. |
| 03/16/2026 | Reviewed |